Read Noise Collaboration
Prepared 2007-12-10 by Bill Claff

### Introduction

The purpose of the collaboration is to collect read noise information on all Nikon DSLR models.

Read noise is the major component that limits sensor performance.
We can also measure Photo Response Non-Uniformity (PRNU) and the noise floor with the same set of measurements.
In practical terms it is this combination of factors that truly limits performance.

A rigorous approach requires numerous pairs of exposures taken at different low light intensities.
However, this expedited procedure uses a smaller number of pairs to produce reasonable results.

### Required Programs and Batch Files

You need to be running a Windows system and to get the following from my web site:
(You should be able to right-click and save from these links.)

- RN_grid.exe

- gain_analyse.exe

- gain_gather.bat

- gain_gather1.bat

- RN_analyse.exe

- RN_gather.bat

Place them all in the same directory.

### Preparing your Camera to take the Images

Choose your fastest lens that can take images of your computer monitor at a comfortable distance.
Use a 50mm f/1.8D AF-Nikkor if it is available as this is what I used to collect my data.

Use default noise reduction settings. In particular do not use long exposure noise reduction.

Do not use ISO Auto.

Use RAW or RAW+JPG.

If your camera does both 14-bit and 12-bit then use 14-bit.

You will be using Manual mode and Manual focus. Be certain Exposure Compensation is set to 0.

### RN_grid

Using a ‘DOS box’ run the flat_target program with parameters as follows:

RN_grid 5 200

Note the intensity value after the ‘@’ in the program caption. It is initially 200.
The ‘a’ or ‘-‘ keys will reduce the gray value by 5 on each keypress.
The ‘z’ or ‘+’ keys will increase the gray value by 5 on each keypress.

All readings and images are taken wide open in manual focus with the lens set to infinity and touching the computer screen.
(If your screen curves a lot then be sure to use a lens with a recessed from element.)

At this first screen adjust your monitor brightness so you are properly exposed at 1/30s with the lens wide open and at the lowest ISO for your camera (even Lo 1.0).

Take 7 pairs of images at intensities of 85, 90, 95, 100, 105, 110, and 115.
Remember the ‘a‘ and ‘z’ keys will change the intensity value.

Take a set of 14 images (7 pairs) at each full ISO such as Lo 1.0, 100, 200, 400, 800, 1600, 3200, Hi 1.0 etc.
As you increase ISO you can either decreasing shutter duration or stop down to maintain the same overall exposure.

### Transfer your Images to the PC

Transfer the images into the directory with the downloaded programs and batch file using your usual procedure (although a card reader is preferred to Nikon Transfer).

### gain_gather

Using a ‘DOS box’ in the directory with the images run the gain_gather batch file.

gain_gather will use gain_gather1 which will in turn use gain_analyse to extract information from the NEF files in the directory.

A summary file called ‘gain.txt’ is also created.

### RN_gather

Using a ‘DOS box’ in the directory with the images run the RN_gather batch file.

RN_gather will use RN_analyse to extract information from the NEF files in the directory.

A summary file called ‘RN.txt’ is also created.

### Submit your Results

Simply e-mail the gain.txt and RN.txt files to me at bclaff@comcast.net and I’ll add your data to the collection.